Environmental & Analytical Laboratories

Locked Bag 588, Building 289

Wagga Wagga NSW 2678

Telephone: (02)6933 2849

Email: eal@csu.edu.au

ABN: 83 878 708 551

## Analytical Package and Explanatory Information

## Irrigation Water

Information contained in this literature is extracted from the “Australian and New Zealand Guidelines for Fresh and Marine Water Quality – 2000”.  Acknowledgment is given to the Australian and New Zealand Environment and Conservation Council and the Agriculture and Resource Management Council of Australia and New Zealand and Agriculture NSW

Specific water quality guidelines depend on a complex interaction of different factors including soil, crops, and climate and management.  Initially a preliminary review of fundamental water quality parameters is typically undertaken.  This will determine the initial suitability of water for irrigation prior to further, more expansive, testing. The following information is to be used as a guide only, please contact your local agronomist for more detailed advice.

Analyte

Conductivity (Salinity) (uS/cm)

Calcium (mg/L)

Magnesium (mg/L)

Sodium (mg/L)

Sodium Absorption Ratio (SAR)

Bicarbonate (mg/L as CaCO3)

Chloride (mg/L)

pH

Hardness (mg/L as CaCO3)

Conductivity (Salinity)

Electrical Conductivity (EC) is the measurement of ions (positively charged cations and negatively charged anions) which make up dissolved salts in waters.  High salinity in irrigation water will increase the osmotic pressure of the soil solution, resulting in a reduced availability of water for plant consumption.  This may result in reduced plant productivity or, in extreme cases, the elimination of crops and native vegetation.

General Rule of Thumb: EC > 1000 us/cm causes problems for plants

| EC uS/cm | Salt Tolerances of Plants and Animals |
| --- | --- |
| 830 | Desirable limit for drinking |
| 1250 | Murray River above Adelaide |
| 1500 | Limit for cereal crops, oil crops and most legumes |
| 2500 | Maximum limit for drinking |
| 3000 | Limit for pears, apples tomatoes |
| 5800 | Poultry |
| 6500 | Saline water |
| 7500 | Pigs |
| 10000 | Horses, dairy cows, ewes/lambs |
| 16500 | Beef cattle |
| 23000 | Adult sheep on dry feed |
| 58300 | Pacific ocean |
| 550000 | Dead sea |

Sodium Absorption Ratio (SAR)

The SAR is the ratio of sodium ions relative to the calcium and magnesium ion concentration. When the SAR >3, the water is classified as sodic and can increase the exchangeable sodium percentage (ESP) of the soil. When the ESP of the soil is >6%, the soil is less likely to disperse and adversely affects soil structure, causing poor infiltration, drainage, clumping, and crusting of the soil surface.

| SAR |  |
| --- | --- |
| <3 | No problem as the water is non sodic |
| 3 to 6 | Minor effect on clay soils if EC >1500 |
| >6 | Increasing effect on all soils, starts to reduce plant growth. |
| >9 | Severe risk of increasing soil sodicity on most soils |

# Bicarbonate (HCO3)

Elevated levels of bicarbonate in irrigation waters can adversely affect irrigation equipment, soil structure and crop foliage.  These problems occur when the bicarbonate (or carbonate) in solution with calcium is sufficient to exceed the solubility of calcium carbonate.  The precipitation of calcium carbonate can lead to white scale formation on leaves and fruit and may clog irrigation equipment.  The same process can give rise to precipitates of calcium carbonate in soil.  This will

effectively increase the sodium absorption ratio (SAR) and may lead to soil structural problems.

| HCO3 mg/L | Risk |
| --- | --- |
| <90 | Low risk of problems occurring. |
| 90-335 | Moderate risk of soil problems, reduced plant growth with prolonged use |
| >335 | High risk of soil problems and reduced plant growth. Scale build up in equipment. |

# Chloride

Chloride is essential to the growth of plants.  However, high levels in water may burn the leaves, cause poor plant growth and eventual death of the plant. Overhead irrigation is a greater problem than drip /surface irrigation.

| Overhead Irrigation | Drip/Surface Irrigation |
| --- | --- |
| 175 mg/L - citrus, fruit, ornamentals | 350 mg/L - most fruit, vegetables, ornamentals |
| 350 mg/L - most vegetables |  |
| 700 mg/L - most field crops/pastures | 700 mg/L - most field crops/pastures |

pH

The pH of water is a measure of its acidity or alkalinity.  Generally, pH itself is not a water quality issue of concern, but it can indicate the presence of a number of related problems.  The greatest hazard with high or low pH is the potential for deterioration as a result of corrosion or fouling.  Soil and animal health will not generally be affected by water with pH in the range 4-9.

# Hardness

Hardness is the concentration of dissolved calcium and magnesium and expressed as mg/L CaCO3. 'Hard' water causes scale build up in equipment and can affect soil structure.

| Hardness | Suggested Limits |
| --- | --- |
| 100 mg/L | Suitable most purposes |
| 150 mg/L | Limit for hot water systems and dairy equipment |
| 200 mg/L | Limit for domestic use |
| 300 mg/L | Limit for mixing chemical sprays |
| >500 mg/L | Limit for most uses |

## Irrigation Water – Further Analysis?

There are several other parameters that affect the quality of irrigation water.  Not all will necessarily be applicable to a given situation, however, their individual relevance should be considered.

| Nitrogen | Biological parameters |
| --- | --- |
| Phosphorus | Algae |
| Heavy metals and metalloids | Cyanobacteria (blue-green algae) |
| Pesticides and herbicides | Human and animal pathogens |
| Radiological quality | Plant pathogens |