ENVIRONMENTAL AND ANALTICAL LABORATORIES

Site/Courier Address: 	Charles Sturt University

Building 289, Nathan Cobb Drive

Wagga Wagga, NSW 2650.

Postal Address: 		Charles Sturt University

Environmental and Analytical Laboratories

Locked Bag 588

Wagga Wagga NSW 2650

Contact: 			Michael Glazier - Laboratory Manager

Phone: 				(02) 6933 2849 / (02) 6933 2687

E mail: 				eal@csu.edu.au

Website			https://science-health.csu.edu.au/eal

ABN:				83 878 708 551

Accreditations:

National Association of Testing Authorities (NATA) accreditation: 9597

Australian Soil and Plant Analysis Council

WATER/WASTEWATER

| Test Parameter | Method Reference | NATA Accreditation | Limit of Quantification (LOR) | Units |
| --- | --- | --- | --- | --- |
| Alkalinity | Total (as CaCo3) | APHA 2320 B | Yes | 2 | mg/L as Ca CO3 |
| Alkalinity | Bicarbonate (as CaCo3) | APHA 2320 B | Yes | 2 | mg/L as Ca CO3 |
| Alkalinity | Carbonate (as CaCo3) | APHA 2320 B | Yes | 2 | mg/L as Ca CO3 |
| Alkalinity | Hydroxide (as CaCo3) | APHA 2320 B | Yes | 2 | mg/L as Ca CO3 |
| Biochemical Oxygen Demand (BOD) | APHA 5210 B/4500-O G/C | Yes | 1 | mg/L |
| Bromide | APHA 4110 B | No | 0.1 | mg/L |
| Chloride | APHA 4110 B | Yes | 0.1 | mg/L |
| Chlorine | Total | APHA 4500-Cl G | No | 0.05 | mg/L |
| Chlorine | Free | APHA 4500-Cl G | No | 0.05 | mg/L |
| Chemical Oxygen Demand (COD) | APHA 5220 D | Yes | 10 | mg/L |
| Chlorophyll A | LTM-W-002 | Yes | 5 | mg/m3 |
| Colour | True | APHA 2120 B | No | 1 | Chloroplatinate units |
| Colour | Apparent | APHA 2120 B | No | 1 | Chloroplatinate units |
| Cyanide - Free | APHA 4500-CN E | No | 0.002 | mg/L |
| Dissolved Oxygen | APHA 4500-O G | Yes | 1 | mg/L |
| Electrical Conductivity (EC) | APHA 2510 B | Yes | 1 | uS/cm |
| Fluoride | APHA 4110 B | Yes | 0.1 | mg/L |
| Formaldehyde | In House | No | 0.1 | mg/L |
| Hardness | Total | Calculation | Yes | 2 | mg/L |
| Hardness | Calcium | Calculation | No | 2 | mg/L |
| Hardness | Magnesium | Calculation | No | 2 | mg/L |
| Microtox | Sub contracted | No | 0.001 | mg/L |
| Nitrogen | Ammonia as N | LTM-W-042 | Yes | 0.2 | mg/L |

WATER/WASTEWATER

| Test Parameter | Method Reference | NATA Accreditation | Limit of Quantification (LOR) | Units |
| --- | --- | --- | --- | --- |
| Nitrogen | Nitrite as N (NO2-N) | LTM-W-022 | Yes | 0.1 | mg/L |
| Nitrogen | Nitrate as N (NO3-N) | LTM-W-022 | Yes | 0.1 | mg/L |
| Nitrogen | Oxidised as N (NOx-N) | LTM-W-014 | Yes | 0.1 | mg/L |
| Nitrogen | Organic Nitrogen (TON) | APHA 1500-NorgB - 4500-NH3 G | No | 2 | mg/L |
| Nitrogen | Total Kjeldahl (TKN) | LTM-W-034 | Yes | 2 | mg/L |
| Nitrogen | Total | APHA 4500-NorgB + 4100B | No | 2 | mg/L |
| Oil & Grease (hexane soluble) | APHA 5520 D | Yes | 2 | mg/L |
| pH | APHA 4500-H+ B | Yes | NA | mg/L |
| Phenolics (total -spectrophotometric method) | APHA 5530 D | No | 0.2 | mg/L |
| Phosphorous | Ortho Phosphate as P | LTM-W-030 | Yes | 0.01 | mg/L |
| Phosphorous | Total | LTM-W-030 | Yes | 0.01 | mg/L |
| Saturation Index (Langelier) | Calculation | No | NA | N/A |
| Saturation Index (Ryznar) | Calculation | No | NA | N/A |
| Sodium Absorption Ratio (SAR) | Calculation | Yes | 1 | N/A |
| Solids | Fixed and or Volatile | LTM-W-037 | Yes | 5 | mg/L |
| Solids | Settleable Solids | APHA 2540 F | No | 0.1 | mg/L |
| Solids | Total Suspended | APHA 2540 D | Yes | 2 | mg/L |
| Solids | Total Dissolved-Gravimetric | LTM-W-035 | Yes | 10 | mg/L |
| Solids | Total Dissolved-EC | Calculation | No | 1 | mg/L |
| Solids | Total | APHA 2540 B | Yes | 5 | mg/L |
| Sulphur | Sulphide | LTM-W-032 | Yes | 1 | mg/L |
| Sulphur | Sulphite | APHA 4500-SO32- B | No | 2 | mg/L |
| Sulphur | Sulphate | APHA 4110 B | Yes | 0.5 | mg/L |

WATER/WASTEWATER

| Test Parameter | Method Reference | NATA Accreditation | Limit of Quantification (LOR) | Units |
| --- | --- | --- | --- | --- |
| Sulphur | Total | APHA 3120 B | Yes | 0.06 | mg/L |
| Surfactants (Anionic as MBAS) | APHA 5540 C | No | 0.2 | mg/L |
| Tannins & Lignin’s | APHA 5550 B | No | 0.2 | mg/L |
| Turbidity | APHA 2130 B | Yes | 1 | ntu |
| Metals: |  |  |  |  |
| Dissolved: Filtered through 0.45um filter paper |  | Yes | NA |  |
| Total: Whole sample digested using mineral acids | APHA 3030 E | Yes | NA |  |
| Aluminium | APHA 3120 B | Yes | 0.03 | mg/L |
| Antimony |  | No | 0.03 | mg/L |
| Arsenic |  | Yes | 0.02 | mg/L |
| Barium |  | Yes | 0.02 | mg/L |
| Beryllium |  | No | 0.001 | mg/L |
| Bismuth |  | No | 0.001 | mg/L |
| Boron |  | No | 0.02 | mg/L |
| Cadmium |  | Yes | 0.002 | mg/L |
| Calcium |  | Yes | 0.03 | mg/L |
| Chromium |  | Yes | 0.002 | mg/L |
| Cobalt |  | Yes | 0.003 | mg/L |
| Copper |  | Yes | 0.002 | mg/L |
| Iron |  | Yes | 0.01 | mg/L |
| Lanthanum |  | No | 0.01 | mg/L |

WATER/WASTEWATER

| Test Parameter | Method Reference | NATA Accreditation | Limit of Quantification (LOR) | Units |
| --- | --- | --- | --- | --- |
| Lead |  | Yes | 0.01 | mg/L |
| Magnesium |  | Yes | 0.02 | mg/L |
| Manganese |  | Yes | 0.001 | mg/L |
| Mercury |  | No | 0.03 | mg/L |
| Molybdenum |  | No | 0.01 | mg/L |
| Nickel |  | Yes | 0.01 | mg/L |
| Phosphorous |  | Yes | 0.02 | mg/L |
| Potassium |  | Yes | 0.2 | mg/L |
| Selenium | APHA 3120 B | No | 0.02 | mg/L |
| Silicon |  | No | 0.02 | mg/L |
| Silver |  | No | 0.002 | mg/L |
| Sodium |  | Yes | 0.05 | mg/L |
| Strontium |  | Yes | 0.004 | mg/L |
| Sulphur |  | No | 0.06 | mg/L |
| Tin |  | No | 0.004 | mg/L |
| Titanium |  | No | 0.004 | mg/L |
| Thallium |  | No | 0.04 | mg/L |
| Vanadium |  | No | 0.005 | mg/L |
| Zinc |  | Yes | 0.002 | mg/L |

WATER/WASTEWATER

| Microbiological: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Faecal/thermotolerant coliforms | Sub contracted | Yes | NA | CFU/100mL |
| Faecal/thermotolerant coliforms & Esherica coli | Sub contracted | Yes | NA | CFU/100mL |
| Heterotrophic Plate Count 22oC 68hr | Sub contracted | Yes | NA | CFU/mL |
| Heterotrophic Plate Count 36oC 44hr | Sub contracted | Yes | NA | CFU/mL |
| Heterotrophic Plate Count-Anaerobic 22oC 72hr | Sub contracted | Yes | NA | CFU/mL |
| Blue/Green Algae | Sub contracted | No | NA | No/mL |
| Legionella spp. | Sub contracted | Yes | NA | org/mL |
| Pseudomonas aeruginosa | Sub contracted | Yes | NA | CFU/100mL |
| Faecal/thermotolerant coliforms | AS/NZS 4276.7 2007 | No | 1 | CFU/100mL |
| Esherica coli | AS/NZS 4276.7 2007 | No | 1 | CFU/100mL |
| Faecal/thermotolerant coliforms & Esherica coli | AS/NZS 4276.7 2007 | No | 1 | CFU/100mL |
| Heterotrophic Plate Count 22oC 68hr | AS/NZS 4276.3.1:2007 | No | 1 | CFU/mL |
| Heterotrophic Plate Count 36oC 44hr | AS/NZS 4276.3.1:2007 | No | 1 | CFU/mL |

Organic Analysis

| Test Parameter | Method Reference | NATA Accreditation | Limit of Quantification (LOR) | Units |
| --- | --- | --- | --- | --- |
| Organochlorine Pesticides (OCP’s) | Sub contracted | Yes | 0.001 | mg/L |
| Organochlorine Pesticides (OCP’s) | Sub contracted | Yes | 0.0001 | mg/L |
| Organophosphate Pesticides (OPP’s) | Sub contracted | Yes | 0.001 | mg/L |
| Glyphosate | Sub contracted | Yes | 0.03 | mg/L |
| Phenoxy Acid Herbicides | Sub contracted | Yes | 0.01 | mg/L |
| Triazine Herbicides | Sub contracted | Yes | 0.01 | mg/L |
| Polychlorinated Biphenyls (PCB’s) | Sub contracted | Yes | 0.001 | mg/L |
| Polychlorinated Biphenyls (PCB’s) | Sub contracted | Yes | 0.0001 | mg/L |
| Polyaromatic Hydrocarbons (PAH’s) | Sub contracted | Yes | 0.001 | mg/L |
| Polyaromatic Hydrocarbons (PAH’s) | Sub contracted | Yes | 0.0001 | mg/L |
| Chlorinated Volatile Compounds (CVC’s) | Sub contracted | Yes | 0.001 | mg/L |
| Benzene, Toluene, Ethyl benzene, Xylene (BTEX) | Sub contracted | Yes | 0.001 | mg/L |
| Total Petroleum Hydrocarbons (TPH) | Sub contracted | Yes | 20 | mg/L |

Soil/Sludge/Biosolids

| Test Parameter | Method Reference | NATA Accreditation | Limit of Quantification (LOR) | Units |
| --- | --- | --- | --- | --- |
| Sample preparation: Drying/screening/grinding | R&L 2 | No | NA | NA |
| Moisture Content | LTM-S-002 | Yes | 0.5 | % |
| Electrical Conductivity/ Salinity | LTM-S-003 | Yes | 1 | uS/cm |
| pH (5:1 aqueous) | LTM-S-004 | Yes | NA | pH units |
| pH (5:1 CaCl2) | LTM-S-004 | Yes | NA | pH units |
| Chloride (soluble) | R&L 5A3a | No | 2 | mg/kg |
| Carbon-Total / Organic (Leco) | R&L 6B3 | No | 150 | mg/kg |
| Nitrogen-Nitrate as N | LTM-S-007 | Yes | 1.0 | mg/kg |
| Nitrogen - Nitrite/Nitrate as N | LTM-S- 007 | Yes | 1.0 | mg/kg |
| Nitrogen - Ammonia as N | LTM-S-007 | Yes | 1.0 | mg/kg |
| Nitrogen – Total Kjeldahl as N | LTM-S-011 | Yes | 50 | mg/kg |
| Nitrogen – Total (Leco) | R&L 7A5 | No | 500 | mg/kg |
| Phosphorous - Colwell | LTM-S-006 | Yes | 5 | mg/kg |
| Phosphorous - Olsen | LTM-S-009 | Yes | 5 | mg/kg |
| Phosphorous - Bray | R&L 9E1 | No | 5 | mg/kg |
| Phosphorous - Total | LTM-S-015 | Yes | 5 | mg/kg |
| Phosphorous Buffer Index (PBI) / Sorption | LTM-S-008 | Yes | NA | Lmol/kg |
| Exchangeable Calcium | LTM-S-005 | Yes | 0.4 | cmol(+)/kg |
| Exchangeable Magnesium |  |  | 0.2 | cmol(+)/kg |
| Exchangeable Sodium |  |  | 0.1 | cmol(+)/kg |
| Exchangeable Potassium |  |  | 0.1 | cmol(+)/kg |
| Exchangeable Sodium Percentage (ESP) | R&L 15N1 | No | 0.1 | % |
| Sodium Absorption Ratio (SAR) | R&L 14A1 | No | 1 | NA |

Soil/Sludge/Biosolids

| Test Parameter | Method Reference | NATA Accreditation | Limit of Quantification (LOR) | Units |
| --- | --- | --- | --- | --- |
| Effective Cation Exchange Capacity (ECEC) | R&L 15a1 | No | 1 | cmol(+)/kg |
| Extractable Boron | R&L 12C1 | No | 0.02 | mg/kg |
| Extractable Copper | R&L 12A1 | No | 0.5 | mg/kg |
| Extractable Iron |  | No | 20 | mg/kg |
| Extractable Manganese |  | No | 5 | mg/kg |
| Extractable Zinc |  | No | 1 | mg/kg |
| Extractable Sulphur | R&L 10B3/D1 | No | 3 | mg/kg |
| Acid Extractable Metals (Total) | LTM-S-015 |  |  |  |
| Aluminium |  | Yes | 3 | mg/kg |
| Arsenic |  | Yes | 2 | mg/kg |
| Barium |  | Yes | 2 | mg/kg |
| Beryllium |  | No | 0.1 | mg/kg |
| Boron |  | No | 2 | mg/kg |
| Cadmium |  | Yes | 0.2 | mg/kg |
| Calcium |  | Yes | 3 | mg/kg |
| Chromium |  | Yes | 0.2 | mg/kg |
| Cobalt |  | Yes | 0.3 | mg/kg |
| Copper |  | Yes | 0.2 | mg/kg |
| Iron |  | Yes | 1 | mg/kg |
| Lead |  | Yes | 1 | mg/kg |
| Magnesium |  | Yes | 2 | mg/kg |
| Manganese |  | No | 0.1 | mg/kg |
| Mercury |  | No | 3 | mg/kg |

Soil/Sludge/Biosolid

| Test Parameter | Method Reference | NATA Accreditation | Limit of Quantification (LOR) | Units |
| --- | --- | --- | --- | --- |
| Molybdenum |  | No | 1 | mg/kg |
| Nickel |  | Yes | 1 | mg/kg |
| Phosphorous | LTM-S-015 | Yes | 2 | mg/kg |
| Potassium |  | No | 20 | mg/kg |
| Selenium |  | Yes | 2 | mg/kg |
| Silicon |  | No | 2 | mg/kg |
| Silver |  | No | 0.2 | mg/kg |
| Sodium |  | No | 5 | mg/kg |
| Sulphur |  | No | 30 | mg/kg |
| Tin |  | No | 0.6 | mg/kg |
| Titanium |  | No | 0.4 | mg/kg |
| Thallium |  | No | 4 | mg/kg |
| Vanadium |  | No | 0.5 | mg/kg |
| Zinc |  | Yes | 0.2 | mg/kg |

Miscellaneous

| Test Parameter | Method Reference | NATA Accreditation | Limit of Quantification (LOR) | Units |
| --- | --- | --- | --- | --- |
| Gypsum-Purity (Ca, Na, S) | LTM-S-015/R&L 17B1 | No | NA | % |
| Lime Analysis (NV, Moisture, Ca, Mg) | AOAC 955.01, R&L 15A1 | No | NA |  |
| Lime Analysis-Neutralising Value | AOAC 955.01 | No | 0.1 | % |
| Sizing (<75um, 75-250um, 250-1000um, >1000um) | AOAC 924.02 | No | 1 | % |
| Lime Analysis-Neutralising Value (4 x sizing) | AOAC 955.01 | No | 0.1 | % |
| Lime Analysis-Effective Neutralising Value (ENV) | AOAC 955.01 | No | 0.1 | % |
| Acid Insolubles | APHA 3030F | No | 50 | mg/kg |
| Air Particulates (Dust Deposition) | LTM-M-003 | No | 0.2 | g/m2/month |
| Asbestos | Sub contracted | Yes | NA | NA |
| Ash | LTM-M-002 | No | 0.1 | % |
| Organic Matter (Estimate in soils/sludges) | APHA 2540 E | No | 5 | mg/kg |
| Sugar (Aggregates/Concrete) | AS1141.35-2007 | No | Qualitative | NA |
| Texture/Colour- Soils | Sub contracted | No | NA | NA |
| Foreign Materials-Aggregates (Type I, II, III) | RTAT276 | No | 0.1 | % |
| Lead in Paint | APHA 3030E/3120B | No | 0.1 | mg/kg |
| Chloride & sulfate in concrete aggregates | AS1012.20:1992 | No | 0.01 | % (m/m) |
| Sulfur in slag, rock, pavement materials. | AS1141.36:1997 | No | 0.02 | % (m/m) |

Group Tests

| Test Parameter | Method Reference | NATA Accreditation | Limit of Quantification | Units |
| --- | --- | --- | --- | --- |
| Irrigation Water: Electrical Conductivity (salinity), pH, Hardness, Calcium, Magnesium, Sodium, Sodium Absorption Ratio (SAR), Alkalinity (bicarbonate) and Chloride | NA | See individual tests | NA | NA |
| Stock Water: Total Dissolved Solids (TDS), pH, Hardness, Calcium, Magnesium, Nitrite, Nitrate and Sulphate | NA | See individual tests | NA | NA |
| Drinking Water 1: Preliminary pH, Total Dissolved Solids (TDS), Hardness, Calcium, Magnesium, Nitrate, Nitrite and Sulphate | Australian Drinking Water Guidelines | See individual tests | NA | NA |
| Drinking Water 2: Preliminary & Health related pH, Total Dissolved Solids (TDS), Hardness, Calcium, Magnesium, Nitrate, Nitrite, Sulphate, Antimony, Arsenic, Barium, Cadmium, Chromium, Copper, Cyanide, Fluoride, Lead, Manganese, Mercury, Molybdenum, Nickel, Selenium and Silver | Australian Drinking Water Guidelines | See individual tests | NA | NA |
| Drinking Water 3: Comprehensive pH, Total Dissolved Solids (TDS), Hardness, Calcium, Magnesium, Nitrate, Nitrite, Sulphate, Antimony, Arsenic, Barium, Cadmium, Chromium, Copper, Cyanide, Fluoride, Lead, Manganese, Mercury, Molybdenum, Nickel, Selenium, Silver, Aluminium, Ammonia, Beryllium, Chloride, Iron, Sodium, Turbidity, Tin, and Zinc | Australian Drinking Water Guidelines | See individual tests | NA | NA |

Group Tests

| Test Parameter | Method Reference | NATA Accreditation | Limit of Quantification (LOR) | Units |
| --- | --- | --- | --- | --- |
| Biosolid Classification: Contaminant Grading Arsenic, Cadmium, Chromium, Copper, Lead, Mercury, Nickel, Selenium, Zinc, OCP’s, PCB’s | NSW EPA: Use & Disposal Biosolid Products | See individual tests | NA | NA |
| Biosolid Classification: Contaminant Grading & Nutrients Arsenic, Cadmium, Chromium, Copper, Lead, Mercury, Nickel, Selenium, Zinc, OCP’s, PCB’s, Moisture, Nitrite, Nitrate, Ammonia, Nitrogen-Total (TKN) & Phosphorous (total) | NSW EPA: Use & Disposal Biosolid Products | See individual tests | NA | NA |