| Date of Inspection: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Facility: |  |  |  | Containment Level: |  |  |  |
| Campus / Location: |  |  | Building: |  |  | Room/s: |  |
| Facility Manager: |  |  |  |  |  |  |  |
| Inspection Lead: | Name: |  |  |  | Signature: |  |  |
| Names of Inspection Team |  |  |  |  |  |  |  |

Facility meets all of the General and Specific Conditions	☐

Facility is approved for conditional use (refer to comments and action sheet)	☐

Facility fails to meet all of the General and Specific Conditions	☐

| Date of subsequent Inspection (if required): |  |  |  |  |
| --- | --- | --- | --- | --- |
| Inspection Lead: | Name: |  | Signature: |  |

Note – at end of report:

Appendix 1:	Areas requiring attention

Appendix 2:	Referenced documents

Appendix 3:	Facility floor plan

1.0 Risk Management

| No. | Component | Compliance | Y | N | Additional Notes / Description |
| --- | --- | --- | --- | --- | --- |
| 1.1 | Facility audits | Regular inspections of facility by IBC |  |  |  |
| 1.2 | Facility security and access | Sight the list of personnel inducted into the facility. Limited to laboratory personnel and others specified by laboratory management |  |  |  |
| 1.3 | Emergency evacuation procedures | Procedures in place and posted in prominent position |  |  |  |
| 1.4 | Emergency contacts | List prominently displayed |  |  |  |
| 1.5 | Evacuation drill | Trial evacuation at least annually |  |  |  |
| 1.6 | Fire control systems | Meet local and state regulations |  |  |  |
| 1.7 | Emergency equipment | Drench shower and eye wash stations in accordance with AS/NZ2982.1 |  |  |  |
| 1.8 | Fire wardens | Allocated and trained |  |  |  |
| 1.9 | Emergency isolation switch | Clearly identified and located near and exit |  |  |  |
| 1.10 | Biological hazard signage | Displayed at each entrance to facility and on appropriate storage areas within the facility |  |  |  |
| 1.11 | No smoking signs | Prominently displayed |  |  |  |
| 1.12 | Standard operating procedures (SOP) | Documented for all procedures |  |  |  |
| 1.13 | Risk assessments | Documented |  |  |  |
| 1.14 | Instruction and Training | Up to date documentation of all staff training |  |  |  |
| 1.15 | First aid | Qualified first aid officer on site |  |  |  |
| 1.16 | First aid kit | Available and readily accessible |  |  |  |
| 1.17 | Accident / incident reports | System in place |  |  |  |
| 1.18 | Staff Immunisation | Relevant vaccines where specialised medical opinion and evaluation advises it |  |  |  |
| 1.19 | Precautions for women | Specific health risks associated with formaldehyde include an increase level of spontaneous abortions; consequently, women in the 1st trimester of pregnancy should not attend the anatomy lab, due to the vulnerability of the foetus. For those in more advanced stages of pregnancy, it is strongly recommended that they also do not attend the lab |  |  |  |

2.0 Laboratory Facilities shall be in accordance with AS/NZS 2982.1 and the following requirements

| No. | Component | Compliance | Y | N | Additional Notes / Description |
| --- | --- | --- | --- | --- | --- |
| 2.1 | Surfaces (bench tops, floors, walls and ceilings) | Impermeable Floors with non-slip finish |  |  |  |
| 2.2 | Fixtures | Minimal horizontal surface to allow dust collection |  |  |  |
| 2.3 | Furniture | Ergonomic and easily cleaned |  |  |  |
| 2.4 | Wash basins and water supply | Basin mixers hands free. Potable hot and cold water (AS 3500) provided inside each room near the exit Back flow prevention in accordance with AS 3500 |  |  |  |
| 2.5 | Drench showers | AS/NZS 2982.1 |  |  |  |
| 2.6 | Eye wash stations | AS/NZS 2982.1 |  |  |  |
| 2.7 | Ventilation and air flow | Directional air flow. Recirculation permitted but not to outside PC2 facility |  |  |  |
| 2.8 | Pressure steam steriliser | Easily accessible and inspected annually Operating instructions and safety signs adequate and clearly visible |  |  |  |
| 2.9 | Freezers, refrigerators | Posted with a biological hazard symbol Temperature of refrigerators monitored |  |  |  |
| 2.10 | Open spaces | Under benches, cabinets and equipment accessible for cleaning |  |  |  |
| 2.11 | Fire control systems | Shall meet local, State or Federal regulations as appropriate |  |  |  |
| 2.12 | Gown hooks | Adequate numbers, and located inside and near doors |  |  |  |

3.0 Work Practices

| No. | Component | Compliance | Y | N | Additional Notes / Description |
| --- | --- | --- | --- | --- | --- |
| 3.1 | General laboratory procedures (mouth pipetting, eating, drinking, smoking, shaving and applying cosmetics) | Prohibited |  |  |  |
| 3.2 | Long hair | Tied back at all times |  |  |  |
| 3.3 | Emergency and safety equipment | Maintained appropriately and readily accessible |  |  |  |
| 3.4 | Mouth pipetting | Prohibited |  |  |  |
| 3.5 | Standard precautions (gowns and enclosed footwear worn, protective eye wear available, gloves available and worn) | Systems in place (NH&MRC “ Infection control in health care settings: Guidelines for the prevention of transmission of infectious diseases) |  |  |  |
| 3.6 | Access to areas of work | Lab doors closed when work is in progress |  |  |  |
| 3.7 | Movement of cadaveric material from the facility | SOP |  |  |  |
| 3.8 | Movement of cadaveric material within the facility | CSU manual handling policy |  |  |  |
| 3.9 | Exiting the facility | Removal of gloves and gowns. Hands washed thoroughly |  |  |  |
| 3.10 | Instruction and training | Records of staff training maintained |  |  |  |
| 3.11 | Private study time for students | SOP |  |  |  |
| 3.12 | Lifting specimens | CSU manual handling policy |  |  |  |
| 3.13 | Cold room work | With SOP |  |  |  |
| 3.14 | Dissection | With SOP |  |  |  |
| 3.15 | Vat preparation and drainage | With SOP |  |  |  |
| 3.16 | Soaking towels | Use of bleach |  |  |  |
| 3.17 | Labels | Use self-adhesive labels only |  |  |  |

4.0 Machinery and Equipment

| No. | Component | Compliance | Y | N | Additional Notes / Description |
| --- | --- | --- | --- | --- | --- |
| 4.1 | SOPs | Operating instructions and safety signs adequate and clearly visible |  |  |  |
| 4.2 | Emergency stop switches | Clearly labelled and accessible |  |  |  |
| 4.3 | Safety glasses | Readily available where appropriate |  |  |  |
| 4.4 | Obstruction | Machines and equipment free from obstruction |  |  |  |
| 4.5 | Guards | All moving parts adequately guarded |  |  |  |
| 4.6 | Electrical and plumbing | Connections in good order |  |  |  |
| 4.7 | CO2 and ABE/BE powder extinguishers | Readily available |  |  |  |

5.0 Housekeeping / Maintenance

| No. | Component | Compliance | Y | N | Additional Notes / Description |
| --- | --- | --- | --- | --- | --- |
| 5.1 | Floors | Clean, dry and free from slip/trip hazards |  |  |  |
| 5.2 | Shelving | Stable and not overloaded |  |  |  |
| 5.3 | Walkways and aisles | Free from obstruction |  |  |  |
| 5.4 | Exits | Free from obstruction |  |  |  |
| 5.5 | Exit signs | Illuminated and clearly visible |  |  |  |
| 5.6 | Emergency lighting | Installed and in operation |  |  |  |
| 5.7 | Facility maintenance | Maintenance and service personnel advised of special hazards Decontamination of surfaces prior to maintenance |  |  |  |

6.0 Environmental

| No. | Component | Compliance | Y | N | Additional Notes / Description |
| --- | --- | --- | --- | --- | --- |
| 6.1 | Waste management system | Written procedures (SOP) in place |  |  |  |
| 6.2 | Segregation of waste | Written procedures (SOP) in place |  |  |  |
| 6.3 | Storage of waste | Written procedures (SOP) in place |  |  |  |
| 6.4 | Storage of embalmed human material | As per Anatomy Act |  |  |  |
| 6.5 | Disposal of waste | Written procedures (SOP) in place |  |  |  |
| 6.6 | Noise | Levels acceptable |  |  |  |
| 6.7 | Lighting | All adequate and working |  |  |  |
| 6.8 | Water supply | Back flow prevention in accordance with AS3500 |  |  |  |
| 6.9 | Pest control program | In place and documented |  |  |  |
| 6.10 | Formaldehyde | Exposure monitoring |  |  |  |

7.0 Biological Safety

| No. | Component | Compliance | Y | N | Additional Notes / Description |
| --- | --- | --- | --- | --- | --- |
| 7.1 | MSDS | MSDS readily available |  |  |  |
| 7.2 | Containment procedures for cadaveric material | As per Anatomy Act |  |  |  |
| 7.3 | Infectious material containers | Clearly labelled and stored appropriately |  |  |  |
| 7.4 | Disposal of infectious waste | In accordance with AS/NZS 2243.3:2002 |  |  |  |
| 7.5 | Decontamination of work surfaces | Use of appropriate chemical solution |  |  |  |
| 7.6 | Sharps | Sharps procedures adopted and adhered to |  |  |  |
| 7.7 | Disposable gloves | Available |  |  |  |
| 7.8 | Writing areas | Provision of separate area for writing materials |  |  |  |
| 7.9 | Emergency procedures | Procedures in place for a biological spill |  |  |  |

8.0 Fume Cupboards

| No. | Component | Compliance | Y | N | Additional Notes / Description |
| --- | --- | --- | --- | --- | --- |
| 8.1 | Performance test | Annual inspection by NATA accredited testing authority |  |  |  |
| 8.2 | Face velocity | Average face velocity a minimum of 0.5 m/s with sash in all positions |  |  |  |
| 8.3 | Emergency isolation switch | Available and clearly identified |  |  |  |
| 8.4 | Fire extinguisher | CO2 fire extinguisher located nearby but not less than 1M from the cupboard |  |  |  |

9.0 Flammable Liquids

| No. | Component | Compliance | Y | N | Additional Notes / Description |
| --- | --- | --- | --- | --- | --- |
| 9.1 | Inventory | Current inventory of all solvents stored in facility |  |  |  |
| 9.2 | MSDS | Available for all solvents used and stored |  |  |  |
| 9.3 | Labels | Container labels correct and legible |  |  |  |
| 9.4 | Storage | Solvents stored in compatible containers and separated from corrosives |  |  |  |
| 9.5 | Volume | No excessive amounts of solvents stored and/or used |  |  |  |
| 9.6 | Cabinets | Appropriately signed and licensed with Workcover (if appropriate) |  |  |  |

10.0 Chemicals

| No. | Component | Compliance | Y | N | Additional Notes / Description |
| --- | --- | --- | --- | --- | --- |
| 10.1 | Inventory | Current inventory of all chemicals stored in facility |  |  |  |
| 10.2 | MSDS | Available for all hazardous substances used and stored |  |  |  |
| 10.3 | Labelling | All chemical containers clearly labelled and complying with the Hazardous Substances Regulation |  |  |  |
| 10.4 | Storage | Chemicals stored in compatible containers in accordance with AS 2243.10 |  |  |  |
| 10.5 | Chemical compatibility | Separation into dangerous goods classes |  |  |  |
| 10.6 | Protective equipment | Appropriate PPE worn when handling hazardous substances |  |  |  |
| 10.7 | Toxic chemicals and carcinogens | Procedures in place for handling special chemicals |  |  |  |
| 10.8 | Fume cupboards | Storage of chemicals in fume cupboards prohibited |  |  |  |
| 10.9 | Chemical spill | Emergency procedure in place |  |  |  |
| 10.10 | Safety carriers | Used for transportation of chemicals in glass / plastic containers of 2L or more |  |  |  |
| 10.11 | Waste | In accordance with AS/NZS 2243.2 |  |  |  |

11.0 Electrical Safety

| No. | Component | Compliance | Y | N | Additional Notes / Description |
| --- | --- | --- | --- | --- | --- |
| 11.1 | In-service safety inspection | Testing and tagging in accordance with AS 3760 or covered by risk exemption |  |  |  |
| 11.2 | Power points | Adequate number available and in good repair |  |  |  |
| 11.3 | Emergency electrical power isolation switch | Installed and clearly identified and located near an exit |  |  |  |
| 11.4 | Residual current device | Installed in distribution boards where required |  |  |  |
| 11.5 | Extension leads | In good repair and present no trip hazard |  |  |  |
| 11.6 | Double adaptors | Prohibited |  |  |  |
| 11.7 | Temporary wiring | Prohibited |  |  |  |
|  | Power boards | Excessive use prohibited |  |  |  |
|  | CO2 extinguisher | Located adjacent to switchboard |  |  |  |
|  | Flammable environments | Electrical ignition sources controlled |  |  |  |

12.0 Fire Safety

| No. | Component | Compliance | Y | N | Additional Notes / Description |
| --- | --- | --- | --- | --- | --- |
| 12.1 | Fire alarms | Installed and operating |  |  |  |
| 12.2 | Fire extinguishers and fire blankets | Suitable types mounted and identified |  |  |  |
| 12.3 | Maintenance of fire extinguishers | Fire extinguishers maintained appropriately |  |  |  |
| 12.4 | Smoke / heat detectors | Clear of obstruction and equipment |  |  |  |
| 12.5 | Fire doors | Unobstructed and identified |  |  |  |
| 12.6 | Use of fire extinguishers | Staff trained and competent in the use of all relevant types of extinguishers. Records kept |  |  |  |
| 12.7 | Fire drill | Conducted at least annually and records kept |  |  |  |

APPENDIX 1

Areas Requiring Attention

| Component | Compliance | Recommendations | Status |
| --- | --- | --- | --- |

APPENDIX 2

Reference Documents

AS

- 1319	Safety signs for the occupational environment

- 1324	Air filters for use in general ventilation and air conditioning

- 1324 	Part 1:	Application, performance and construction

- 1324 	Part 2:	Methods of test

- 1386	Clean rooms and clean workstations

- 1386.5	Clean workstations

- 1410	Sterilizers – steam – pre-vacuum

- 1885	Management of occupational health and safety performance

- 2243	Safety in laboratories

- 2243.4	Part 10:	Storage of chemicals

- 3500	National plumbing and Drainage Code (series)

- 4031	Non-reusable containers for the collection of sharp medical items used in health care settings

AS/NZS

- 1336	Recommended practices for occupational eye protection

- 1337	Eye protectors for industrial applications

- 1715	Selection, use and maintenance of respiratory protective devices

- 2243	Safety in laboratories

- 2243.1	Part 1:	General

- 2243.2	Part 2:	Chemical aspects

- 2243.8	Part 8:	Fume cupboards

- 2982	Laboratory design and construction

- 2982.1	Part 1:	General requirements

- 3816	Management of clinical and related wastes

ISO

- 3864	Safety colours and safety signs

NZS

- 4304	Health care waste management

NHMRC (National Health and Medical research Council, Australia)

Infection control in health care settings: Guidelines for the prevention of transmission of infectious diseases.

Australian Immunisation Handbook

Hazardous Substances Regulation

Dangerous Goods Act

APPENDIX 3

Facility Floor Plan

Please attach current floor plan of facility from FM Central  at https://fmcentral.csu.edu.au/sisfm-enquiry/CSU/login.aspx